Supporting Information

DEVELOPMENT AND VALIDATION OF STABILITY INDICATING HPLC METHOD FOR RELATED SUBSTANCES ANALYSIS OF FLUOROMETHOLONE IN AN OPHTHALMIC SOLUTION

Cigdem Sener, Harun Ergen, Muge Guleli, Cem Caliskan*

* World Medicine Pharmaceutical Industry and Trade Inc. R&D Center, 15 Temmuz Mah. Camiyolu Cad. No:50 K:4 Günesli/İstanbul,e-mail: cem.caliskan@worldmedicine.com.tr, Phone Number: +902124747050 (1427)

| Table of Contents | Page |
| --- | --- |
| Specificity | 2 |
| Linearity and range | 3 |

Specificity

For specificity test, following injections were done in the given order: dilution solution, system suitability solutions, system suitability solution, placebo solution, standard solution, each impurity standard solution at limit concentration, sample solution, mixture solution of fluorometholone and spiked with impurities at limit concentration and sample solution spiked with impurities at limit concentration.

Limits and results for specificity

| Compounds |  | Retention Time | Relative Retention Time (RRT) | Purity Angle | Purity Threshold | Limit (max. %) |
| --- | --- | --- | --- | --- | --- | --- |
| Dilution solution |  | - | - | - | - | - |
| Placebo solution |  | - | - | - | - | - |
| System suitability solution | Fluorometholone | 53.35 | 1.00 | 0.107 | 0.275 | 1.00 |
|  | 1,2-Dihydrofluoro-metholone | 56.53 | 0.94 | 4.891 | 6.232 | 1.00 |
| Sample solution | Fluorometholone | 52.13 | 1.00 | 0.052 | 0.229 | 1.00 |
| Mixture solution of fluorometholone and spiked with impurities at limit concentration | Fluorometholone | 52.25 | 1.00 | 3.300 | 4.008 | 1.00 |
|  | Deltamedrane | 57.80 | 0.90 | 1.697 | 2.199 | 1.00 |
|  | 1,2-Dihydrofluoro-metholone | 55.73 | 0.94 | 4.460 | 5.319 | 1.00 |
|  | Bromidrine | 58.66 | 0.89 | 2.739 | 3.329 | 1.00 |
|  | FLM3 | 65.56 | 0.80 | 1.826 | 2.207 | 1.00 |
|  | FLM2 | 68.17 | 0.77 | 1.666 | 2.139 | 1.00 |
| Sample solution spiked with impurities at limit concentration | Fluorometholone | 52.31 | 1.00 | 0.044 | 0.222 | 1.00 |
|  | Deltamedrane | 57.91 | 0.90 | 1.778 | 2.076 | 1.00 |
|  | 1,2-Dihydrofluoro-metholone | 55.88 | 0.94 | 4.218 | 4.971 | 1.00 |
|  | Bromidrine | 58.74 | 0.89 | 3.293 | 3.792 | 1.00 |
|  | FLM 3 | 65.61 | 0.80 | 1.512 | 1.916 | 1.00 |
|  | FLM 2 | 68.23 | 0.77 | 1.645 | 1.994 | 1.00 |
| Fluorometholone solution at limit concentration |  | 1.00 | 1.00 | 2.966 | 3.483 | 1.00 |
| Deltamedrane solution at limit concentration |  | 1.00 | 1.00 | 1.796 | 2.472 | 1.00 |
| 1,2-Dihydrofluorometholone solution at limit concentration |  | 1.00 | 1.00 | 3.457 | 4.089 | 1.00 |
| Bromidrine solution at limit concentration |  | 1.00 | 1.00 | 2.761 | 3.579 | 1.00 |
| FLM3 solution at limit concentration |  | 1.00 | 1.00 | 1.302 | 1.975 | 1.00 |
| FLM2 solution at limit concentration |  | 1.00 | 1.00 | 1.809 | 2.232 | 1.00 |
| Unknown impurity |  | - | - | - | - | 1.00 |
| Total impurities |  | - | - | - | - | 2.00 |

Linearity and range

Linearity standard solutions were prepared at six (LOQ, 10, 20, 40, 80, 100, 120, 140%) concentration levels ranging from LOQ to 140% of the specification level and each standard solution was injected three times. Only, %100 concentration was injected six times.

Figure S1. Linearity graphic of fluorometholone

Figure S2. Linearity graphic of deltamedrane impurity

Figure S3. Linearity graphic of 1,2-dihydrofluorometholone impurity

Figure S4. Linearity graphic of bromidrine impurity

Figure S5. Linearity graphic of FLM3 impurity

Figure S6. Linearity graphic of FLM2 impurity